Protocol for DNA Isolation using Phenol:Chloroform:Isoamyl alcohol

1. Measure volume of the sample. The following volumes are per 100 μL of sample.

2. Add 100 μL phenol:chloroform:isoamyl alcohol to the sample.

3. Vortex thoroughly.

Spin the tube at 16,000xg for 5 minutes to separate the phases.

5. Carefully transfer the top aqueous layer to a clean 1.7 mL tube. Discard the interface and lower phase into an organic waste container.

6. Add 400 μL ice-cold 95% EtOH, 50 μL 3 M NaOAc, and 1 μL glycogen to the retained aqueous layer.

7. Vortex thoroughly.

8. Spin the tube at 16,000xg for 5 minutes.

9. A white DNA pellet should be visible on the bottom of the tube.

10. Carefully remove and discard the supernatant.

11. Wash the pellet with ice-cold 70% ethanol.