Determination of the Extinction Coefficient for a Protein

Use the following formula to determine the extinction coefficient at 205 nm:

E(205 nm) = 27 + 120 x (A280 divided by A205)

The reading at 205 nm must be multiplied by the dilution factor before using the formula.

Next, determine protein concentration:

Protein concentration (M) = A205 divided by E(205 nm)

You can now determine the extinction coefficient for 280 nm:

E(280 nm) = concentration (M) divided by A280

### Comments

An abnormal phenylalanine content will throw off the result considerably. The accuracy of the technique depends on an average amino acid composition.

### References

- Scopes, RK. Analytical Biochemistry 59: 277. 1974.

- Stoscheck, CM. Quantitation of Protein. Methods in Enzymology 182: 50-69. 1990.