SDS-PAGE Protocol

# (Ayaz Najafov, 25-May-2010 edition)

MATERIALS:

10% separating gel stock (45mL):

18.5 mL   dH2O

15.0 mL   30% acrylamide (37.5:1)

11.3 mL   1.5M Tris-HCl

225 µL     20% SDS

Separating gel:

3.5mL 10% acrylamide stock

+ 30µL 10% APS + 3µL TEMED

Stacking gel:

1 mL 4% acrylamide (37.5:1)

+ 20µL 10% APS + 4µL TEMED

2X SDS-PAGE loading dye:

0.125M Tris-HCl, 4% SDS, 20% Glycerol, 0.2M DTT, 0.02% BPB, pH 6.8

For 10mL: 2.5mL 0.5M Tris-HCl (pH 6.8), 4mL 10% SDS, 2mL 100% Glycerol, 2mg BPB, 0.31g DTT.

Store in 0.5mL aliquots at –20oC for up to 6 months.

## 1X Running buffer:

0.025M Tris, 0.192M Glycine, 0.1% SDS, pH8.3

For 1L: 3.0g Tris, 14.4g Glycine, 1.0g SDS

Store at room temperature up to 1 month.

PROCEDURE:

- Keep the dirty gel glasses in water, preferably with some detergent.

- In the morning, wash the gel glasses with detergent, brush and hot tap water.s

- Rack the glasses, tilt the rack at and angle and dry with 100% EtOH from squeezy.

- Let dry for 10min.

- Assemble the glasses for gel pouring.

- Pour the resolving gel and immediately (very carefully) pour water onto it (from squeezy).  [a) to prevent contact of acrylamide with air and ensure polymerization; and b) to make sure that the separating gel is plane at its top by avoiding meniscus].

- Let the gel to polymerize for 15-30min at room temperature.

- Aspirate the water at the top of the separating gel.

- Dry the water left in between glasses by using tissue paper or whatman paper.

- Pour stacking gel and insert the comb.

- Let the gel to polymerize for 1hr at room temperature.

- Carefully pull the comb out. Carefully wash away the polyacrylamide pieces. Assemble the gel into tank.

- Pour 1X running buffer. Aspirate the wells to clear the garbage in the wells.

- Heat the samples at 70-90oC for 5-10min. If the gel is to be stained by Coomassie, load ~10µg per lane. For most phospho-specific antibodies 20g of lysate is enough. It is not necessary to load the denatured samples immediately, i.e. they can be kept at room temperature for a while before loading. However, if the samples are lysates, keep the samples at -20C just prior to loading, to prevent degradation. Heat after thawing.

- Invert/vortex and then spin the tubes with samples prior to loading.

- Load equal volumes. Fill empty wells with 1X loading dye.

- Run: 80V while BPB is in stacker and then increase to 150V for resolving, until BPB is just about to exit.

- For proteins >70kDa, run 8% gels.

- For proteins <70kDa, run 10% gels.

- Keep 8% and 10% pre-mixes (dH2O, Buf, SDS). Filter the pre-mixes.

- Prefer to use freshly thawed 10% APS. Keep thawed APS at 4oC for no more than 10 days.

- LDS sample buffer is better than SDS sample buffer.

Acrylamide Solution (38:2)

| Acrylamide | 190 g |
| --- | --- |
| Bis | 10 g |
| H2O | to 500 ml |

Store in the dark at 4oC.

Acrylamide is neurotoxic and should be handled with care.

1.5 M Tris-Cl (pH 8.8)

| Tris (MW 121.1) | 36.3 g |
| --- | --- |
| H2O | to 200 ml |

Adjust pH to 8.8 with HCl.

0.5 M Tris-Cl (pH 6.8)

| Tris (MW 121.1) | 6.06 g |
| --- | --- |
| H2O | to 100 ml |

Adjust pH to 6.8 with HCl.

10% SDS

| SDS | 10 g |
| --- | --- |
| H2O | to 100 ml |

10% Ammonium Persulphate

| Ammonium persulphate | 1 g |
| --- | --- |
| H2O | 10 ml |

Prepare fresh (can be stored at 4oC for a few days).

2X Sample Buffer (with beta-ME)

| 0.5 M Tris-Cl (pH 6.8) | 2.5 ml |
| --- | --- |
| 10% SDS | 4 ml |
| Glycerol | 2 ml |
| 2-Mercaptoethanol | 1 ml |
| Bromophenol Blue | mg |
| H2O | to 10 ml |

Divide into 1 ml aliquots and freeze.

6X Sample Buffer (with DTT)

| 1 M Tris-Cl (pH 6.8) | 2.4 ml |
| --- | --- |
| SDS | 0.96 g |
| Glycerol | 4.8 ml |
| DTT | 739 mg |
| Bromophenol Blue | 4.8 mg |

Do not adjust the volume.

5X Tank Buffer

| Tris (MW 121.1) | 60 g |
| --- | --- |
| Glycine | 288 g |
| SDS | 10 g |
| H2O | to 2 l |

The pH of the solution does not need to be adjusted.